## Sample
Consider for value control | Attribute Name | Required? | Format | Example | Comments on common ontology attribute | Adapter 1 Isoscape Mapping | Adapter 1 Status | Adapter 1 APPROVED | Adapter 2 ANSTO GNIP Mapping | Adapter 2 Status | Adapter 2 APPROVED | Adapter 3 CSIRO Labdata Mapping | Adapter 3 Status | Adapter 3 APPROVED | Adapter 4 CSIRO Soils & landscape Lab Name | Adapter 4 Status | Adapter 4 APPROVED | Adapter 5 GA Name | Adapter 5 Status | Adapter 5 APPROVED | Adapter 6 GA Hydrochemistry | Adapter 6 Status | Adapter 6 APPROVED
| UI_FILTER_PATH (can be ignored in ontology) | Required for UI filter |  |  |  | See spec | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | See comments in 20241220 feedback form | (see spec) | IMPLEMENTED |  | (see spec) | IMPLEMENTED |  | (see spec) | IMPLEMENTED | APPROVED | same as Adapter 5 | IMPLEMENTED | APPROVED
| sample.SAMPLE_ID | Required | Alpha Numeric | SAMPLE001, 19275 | Designator for the main sample or the main project that you are sampling from a specific site | Use the Lithosurfer generated unique sample ID | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | SamplingID (SQL generated numeric) | IMPLEMENTED | APPROVED | Sample ID | IMPLEMENTED | APPROVED | SAMPLE_ID | IMPLEMENTED | APPROVED | SAMPLE_ID | IMPLEMENTED | APPROVED
| sample.SAMPLE_SUBSAMPLE_ID |  | Alpha Numeric |  | Can be null value If sample is further divided or when multiple samples are collected at a site at a time | N/A | N/A | N/A | N/A | N/A | N/A | SubSampleID (SQL generated numeric) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Subsample ID | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_DATE_START | Required | Numeric | YYYYMMDD | Date of sample collection | See spec (slide 3) | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | (see spec) SamplingDate, EntryDate (for subsamples), SQL Date format (includes date & time) | IMPLEMENTED (without timezone) | See Axel's email | Sample Start Date | IMPLEMENTED | APPROVED | SAMPLE_ACQUISITION_DATE | IMPLEMENTED | APPROVED | SAMPLING_DATE | IMPLEMENTED | APPROVED
| sample.SAMPLE_TIME_START |  | Numeric | HH:MM | Can be null Time of sample collection. If a percipitation sample this would be the start sample time period of collection. | N/A | N/A | N/A | N/A | N/A | N/A | SamplingDate, EntryDate (for subsamples), SQL Date format (includes date & time) | IMPLEMENTED (without timezone) | See Axel's email | Sample Start Time | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_TIMEZONE | Recommended | Alpha | AEST | relevant timezone of the sample | N/A | N/A | N/A | N/A | N/A | N/A | missing!!! | IMPLEMENTED (ignored) | See Axel's email | Timezone | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_DATE_END | Recommended; Required if Start Date not available | Numeric | YYYYMMDD | Required if Start Date not available; Can be null; Date of sample collection for sampling collected of a period of time. | See spec (slide 3) | IMPLEMENTED | APPROVED | End of Period | IMPLEMENTED | APPROVED | SamplingDateEnd , SQL Date format (includes date & time) | IMPLEMENTED (without timezone) | See Axel's email | Sample End Date | IMPLEMENTED | APPROVED | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_TIME_END |  | Numeric | HH:MM | Can be null End Time of sample collection. If a percipitation sample this would be the end sample time period of collection. | N/A | N/A | N/A | N/A | N/A | N/A | SamplingDateEnd , SQL Date format (includes date & time) | IMPLEMENTED (without timezone) | See Axel's email | Sample End Time | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
yes | sample.SAMPLE_TYPE | Required | List | Water, Soil, Sediment, Rock, Gas, Plant, Animal, Other | Other could be eg Olive Oil | See spec (slide 3) | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | (see spec) Exposure$KindOf (for the type of site) or SubSample Method (for the kind SubSample: ProductMaterial) | IMPLEMENTED | See Axel's email | Sample Type | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | same as Adapter 5 | IMPLEMENTED | APPROVED
no | sample.SAMPLE_SOURCE_TYPE | Recommended | Alpha Numeric | Water - Groundwater, surface water, precipitation, Soil - clay, sandy, mineral, quartz, sediment, Plant/Animal - species name, Gas - CH4, N2O, N2 |  | See spec (slide 3) | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | See Christoph's comment | Sample Source Type | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | same as Adapter 5 (almost) | IMPLEMENTED | APPROVED
no | sample.SAMPLE_SUBTYPE | Recommended | Alpha | leaf, stem, tooth, carbohydrate, total suspended solids, pore water | Freeform field, precise description of matrix | N/A | N/A | N/A | (see spec) | IMPLEMENTED | APPROVED | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Sample Subtype | IMPLEMENTED |  | (see spec) | IMPLEMENTED | APPROVED | same as Adapter 5 (almost) | IMPLEMENTED | APPROVED
| sample.SAMPLE_SITE_AIR_TEMPERATURE_DEGC |  | Numeric, C | 26.2 | Can be null if not collected or relvant for the type of sample in question Air temperature at time sample was taken. | N/A | N/A | N/A | Air Temperature | IMPLEMENTED | APPROVED | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Site Air Temp | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_AMOUNT |  | Numeric | 5 | Can be null This is for the collection of the amount/weight/volume of a sample collected. | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Sample Amount | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
yes | sample.SAMPLE_UOM |  | Alpha | mm, L, mL | Can be null This is for the UOM related to SAMPLE_AMOUNT to know how much of a given type of sample is collected | N/A | N/A | N/A |  | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Sample Amount _Unit | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
yes | sample.SAMPLE_SOURCE_FORM |  | Alpha Numeric | Liquid, Frozen, etc | the form of the water at sampling time | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Sample Source | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_PROJECT_DESCRIPTION | Required | Alpha Numeric | Environmental tracer data published in this study resulted from a targeted field groundwater sampling campaign in North-eastern Eyre Peninsula. Environmental tracers collected... | Descriptive - 1-5 sentences. Any relevant additional information on the sample that does not fit elsewhere (Formal Study, Hobby, Experiment Design, etc) | See spec (slide 3) | IMPLEMENTED but see comment | APPROVED | (see spec) | IMPLEMENTED | APPROVED | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Project description | IMPLEMENTED | See comments in 20241122 feedback form | No current mapping available | N/A | N/A | No current mapping available | N/A | N/A
| sample.SAMPLE_CONFIDENTIAL_DATE |  | Numeric | YYYYMMDD | Date the data is confidential until | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Confidential Until | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_PID | Recommended | Alpha Numeric | https://pid.geoscience.gov.au/dataset/ga/147298 | unique, permanent URI linked to the data | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Sample PID | IMPLEMENTED |  | SAMPLE_PID | IMPLEMENTED | APPROVED | SAMPLE_PID | IMPLEMENTED | APPROVED
| sample.SAMPLE_PROJECT_IDENTIFIER | Required | Alpha Numeric | EFTF - Upper Darling Floodplain Groundwater | This should be a short version of Sample_Project_Description, ie name of the project under which the analyses were originally run | See spec (slide 3) | IMPLEMENTED but see comment | APPROVED | (see spec) | IMPLEMENTED | APPROVED | (see spec) Samplings are related to Projects (n:m relation) and to Sets (1:n). Set is rather defined as "batch" in other lab contexts. Projects are recursive, so any new project can comprise data of several former projects. | IMPLEMENTED | APPROVED | Project Name | IMPLEMENTED | See comments in 20241122 feedback form | PROJECT | IMPLEMENTED | APPROVED | PROJECT | IMPLEMENTED | APPROVED
| sample.SAMPLE_STRATIGRAPHIC_UNIT |  | Alpha | Hudson Sandstone | Can be null | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Stratigraphic Unit | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SITE_FLOW_RATES |  | Numeric |  | Can be null Flow rates at the sample water site | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Flow Rates | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SITE_WATER_TEMPERATURE_DEGC |  | Numeric | 31.2 | Can be null for soil samples Temperature of a water sample | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Water Temp DegC | IMPLEMENTED |  | FIELD_TEMPERATURE | N/A therefore disabled | N/A | FIELD_TEMPERATURE_DEGC | IMPLEMENTED | APPROVED
| sample.SITE_SALINITY_US_CM |  | Numeric | 1215 | Can be null Measurement of the salinity of the water sample | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Salinity | IMPLEMENTED |  | FIELD_EC | N/A therefore disabled | N/A | FIELD_EC_US_CM | IMPLEMENTED | APPROVED
| sample.SITE_AIR_PRESSURE |  | Numeric | 2455 | Can be null Air pressure at time sample was taken. | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Air Pressure | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SITE_pH |  |  |  | This can be null, but is the basic chemistry analysis if available | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | pH | IMPLEMENTED |  | N/A | N/A | N/A | FIELD_PH | IMPLEMENTED | APPROVED
| sample.SITE_ELECTRICAL_CONNECTIVITY |  |  |  | This can be null, but is the basic chemistry analysis if available | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Electrical Connectivity | IMPLEMENTED | APPROVED | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SITE_TURBIDITY |  |  |  | This can be null, but is the basic chemistry analysis if available | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Turbidity | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SITE_HUMIDITY |  |  |  | This can be null, but is the basic chemistry analysis if available | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Humidity | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SITE_MOISTURE_CONTENT |  |  |  | This can be null, but is the basic chemistry analysis if available | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Moisture Content | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.site.DO |  |  |  | This can be null, but is the basic chemistry analysis if available | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Dissolved Oxygen | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.site.ORP |  |  |  | This can be null, but is the basic chemistry analysis if available | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | ORP | IMPLEMENTED |  | N/A | N/A | N/A | FIELD_ORP_MV | IMPLEMENTED | APPROVED
| sample.SITE_WATER_LEVEL |  | Numeric |  | Can be null Would be used in terms of a Dam water collection to note the Dams water level | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Water Level | IMPLEMENTED |  | FIELD_SWL | N/A therefore disabled | N/A | N/A | N/A | N/A
| sample.SAMPLE_ISOTOPE_CONCENTRATION |  | Numeric | 7.24 | Can be null | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Isotope Concentration | IMPLEMENTED |  | No current mapping available | N/A | N/A | No current mapping available | N/A | N/A
| sample.SAMPLE_ISOTOPE_CONCENTRATION_UNIT |  | Alpha | % | Can be null | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Concentration Unit | IMPLEMENTED |  | No current mapping available | N/A | N/A | No current mapping available | N/A | N/A
| sample.SAMPLE_PRECIPITATION |  | Numeric | mm | Average or composite measurement over the duration of a composite sample. | N/A | N/A | N/A | Precipitation | IMPLEMENTED | APPROVED | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Precipitation | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_TEMPERATURE |  | Numeric | degrees Celsius | Average or composite measurement over the duration of a composite sample. | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Sample Temperature | IMPLEMENTED | APPROVED | N/A | N/A | N/A | N/A | N/A | N/A
| sample.SAMPLE_H2O_VAPOUR_PRESSURE |  | Numeric | % | Average or composite measurement over the duration of a composite sample. | N/A | N/A | N/A | Vapour Pressure | IMPLEMENTED | APPROVED | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Water Vapour Pressure | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A

## Site
Consider for value control | Attribute Name | Required? | Format | Example | Comments on common ontology attribute | Adapter 1 Isoscape Mapping | Adapter 1 Status | Adapter 1 APPROVED | Adapter 2 ANSTO GNIP Mapping | Adapter 2 Status | Adapter 2 APPROVED | Adapter 3 CSIRO Labdata Mapping | Adapter 3 Status | Adapter 3 APPROVED | Adapter 4 CSIRO Soils & landscape Lab Name | Adapter 4 Status | Adapter 4 APPROVED | Adapter 5 GA Name | Adapter 5 Status | Adapter 5 APPROVED | Adapter 6 GA Hydrochemistry | Adapter 6 Status | Adapter 6 APPROVED
| site.SITE_NAME |  | Alpha Numeric | Darling River | Name assigned to the collection site. | N/A | N/A | N/A | (see spec) (Site ID) | IMPLEMENTED | APPROVED | ExposureName | IMPLEMENTED |  | Site Name | IMPLEMENTED | APPROVED | ENTITY_ID (see spec) / SAMPLING_FEATURE NAME | IMPLEMENTED | APPROVED | SAMPLING_FEATURE_NAME | IMPLEMENTED | APPROVED
| site.SITE_NUMBER |  | Alpha Numeric |  |  | N/A | N/A | N/A | BOM Site Number | IMPLEMENTED | APPROVED | ExposureID (numeric, SQL generated), Exposure$ExternalIDs (Alphanumeric) | IMPLEMENTED |  | Site ID | IMPLEMENTED | APPROVED | ENO | IMPLEMENTED | APPROVED | ENO | IMPLEMENTED | APPROVED
controlled | site.SITE_TYPE | Recommended | Alpha Numeric | water course | Type of collection site, i.e. a river, borehole, field site, mine. | N/A | N/A | N/A | (see spec) | IMPLEMENTED | APPROVED | (see spec) Exposure KindOf (e.g. GW well, River, Rainwater collector) | IMPLEMENTED | See Axel's email | Site Type | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | SAMPLING_FEATURE_TYPE | IMPLEMENTED | APPROVED
| site_type_borehole_associated |  | Alpha Numeric | Bob1A, Bob1B and Bob1C | This field provides the link to the original well for re-spuds and deepenings | N/A | N/A | N/A | N/A | N/A | N/A | tblExposureExternalIDs->some name (concatenation) | POSTPONED (waiting for export) |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| site_custodian |  | Alpha Numeric | Water NSW | This field contains the name of the regulatory organisation responsible for this site. It is predominately used for boreholes, but can be expanded to cover other site types. | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A | N/A | N/A | Don't currently explicitly share these | N/A | N/A | N/A | N/A | N/A
| site_custodian_ID |  | Alpha Numeric | GW019482 | The identification number or code used by the regulatory authority responsible for the site. | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A | N/A | N/A | Don't currently explicitly share these | N/A | N/A | N/A | N/A | N/A
| site.SITE_DESCRIPTION |  | Alpha Numeric |  | Any relevant information that would be helpful to one reviewing the measurement to know in their analysis. Such as "On the edge of the Darling River, river is high and flowing due to recent rain." Could also include the incline of the borehole. | N/A | N/A | N/A | N/A | N/A | N/A | Exposure$Remarks | IMPLEMENTED |  | Site Description | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | N/A | N/A | N/A
| site.SITE_LATITUDE | Required | Numeric | -33.7 | Latitude of the sample collection site | see slide 2 for Australian rainfall isoscape | IMPLEMENTED | APPROVED | Latitude | IMPLEMENTED | APPROVED | (see spec) Exposure$Latitude; Exposure$ImportLatitude; Exposure$CoorKind. Latitude is a unique format over the database (deg.decimals), Import Latitude is what the submitter provides (defined by CoorKind) | IMPLEMENTED | See Axel's email | Latitude | IMPLEMENTED | APPROVED | LAT_GDA94 | IMPLEMENTED | APPROVED | LAT_GDA94 | IMPLEMENTED | APPROVED
| site.SITE_LONGITUDE | Required | Numeric | 150.8833 | Longitude of the sample collection site | see slide 2 for Australian rainfall isoscape | IMPLEMENTED | APPROVED | Longitude | IMPLEMENTED | APPROVED | (see spec) Exposure$Longitude; Exposure$ImportLongitude; Exposure$CoorKind. Longitude is a unique format over the database (deg.decimals), Import Longitude is what the submitter provides (defined by CoorKind) | IMPLEMENTED | See Axel's email | Longitude | IMPLEMENTED | APPROVED | LONG_GDA94 | IMPLEMENTED | APPROVED | LONG_GDA94 | IMPLEMENTED | APPROVED
| site.SITE_LAT_LONG_ACCURACY |  | Numeric |  |  | N/A | N/A | N/A | N/A | N/A | N/A | tblExposures.fCoordinateAccuracy | IMPLEMENTED | See Axel's email | LatLonPrecision | IMPLEMENTED | APPROVED | ACCURACY_M | IMPLEMENTED | APPROVED | N/A | N/A | N/A
yes | site.SITE_LAT_LONG_REFERENCE_SYSTEM |  | Alpha Numeric | GDA94, WGS84 | The reference system used for the Lat/Long measurment | N/A | N/A | N/A | always "Geocentric Datum of Australia, 1994" | IMPLEMENTED | APPROVED | always "WGS84" | IMPLEMENTED | See Axel's email | LatLonReference | IMPLEMENTED |  | always "GDA94" | IMPLEMENTED | APPROVED | always "GDA94" | IMPLEMENTED | APPROVED
| site.SITE_ELEVATION_AHD_M | Required | Numeric | 243 | Can be null Elevation or altitude in metres relative to the Australian Height Datum; if not supplied will be calculated | see slide 2 for Australian rainfall isoscape | IMPLEMENTED | APPROVED | Altitude | IMPLEMENTED | APPROVED | (see spec) Exposure$Elevation | IMPLEMENTED | See Axel's email | Ground Elevation m | IMPLEMENTED | APPROVED | ELEV_M_AHD | IMPLEMENTED | APPROVED | ELEV_M_AHD | IMPLEMENTED | APPROVED
| site.SITE_ELEVATION_ACCURACY |  | Numeric |  |  | N/A | N/A | N/A | N/A | N/A | N/A | tblExposures.fElevationAccuracy, also given in m | IMPLEMENTED | See Axel's email | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
yes | site.SITE_ELEVATION_AHD_M_REFERENCE |  | Alpha Numeric | Borehole, Ground Floor, etc | Can be null point of reference for the measurement of SITE_ELEVATION_AHD_M | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
| site.SITE_UPPER_DEPTH_M |  | Numeric | 10 | Can be null Upper limit of depth at which field sample was collected, in metres from surface | N/A | N/A | N/A | N/A | N/A | N/A | Exposure$ScreenTop | IMPLEMENTED | APPROVED | Upper depth | IMPLEMENTED | APPROVED | INTERVAL_BEGIN_M / BOREHOLE_TOP_DEPTH_M | IMPLEMENTED but missing in source | APPROVED | SAMPLING_INTERVAL_BEGIN_M | IMPLEMENTED | APPROVED
| site.SITE_LOWER_DEPTH_M |  | Numeric | 12 | Can be null Lower limit of depth at which field sample was collected, in metres from surface | N/A | N/A | N/A | N/A | N/A | N/A | Exposure$ScreenBottom; Exposure$FinalDepth | IMPLEMENTED | APPROVED | Lower depth | IMPLEMENTED | APPROVED | INTERVAL_END_M / BOREHOLE_BASE_DEPTH_M | IMPLEMENTED but missing in source | APPROVED | SAMPLING_INTERVAL_END_M | IMPLEMENTED | APPROVED
| site.SITE_ELEVATION_UNIT |  | Alpha? |  | Top elevation AHD_M; m from ground | N/A | N/A | N/A | N/A | N/A | N/A | (see spec) Unit is always m | IMPLEMENTED | APPROVED | Depth Measurement Unit | IMPLEMENTED | APPROVED | Supplied in header as metre AHD | IMPLEMENTED | APPROVED | N/A | N/A | N/A
| site.SITE_STORAGE_VOLUME |  | Numeric | For any lakes, reservoirs or dams where they have capture the capcity of water storage | Only required if water sample comes from a Dam, Lake or Reservoir - so this field is nullable. Total Dam water volume | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
yes | site.SITE_STRATIGRAPHIC_UNIT |  | Alpha | Hutton Sandstone | Can be null Name of the stratigraphic unit (as per Australian Stratigraphic Units Database where possible) | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | POSTPONED (waiting for export) |  | N/A | N/A | N/A | STRAT_UNIT_NAME | IMPLEMENTED | APPROVED | N/A | N/A | N/A
Long term average annual precipitation mm

## Agent - Lab, Person
Consider for value control | Attribute Name | Required? | Format | Example | Comments on common ontology attribute | Adapter 1 Isoscape Mapping | Adapter 1 Status | Adapter 1 APPROVED | Adapter 2 ANSTO GNIP Mapping | Adapter 2 Status | Adapter 2 APPROVED | Adapter 3 CSIRO Labdata Mapping | Adapter 3 Status | Adapter 3 APPROVED | Adapter 4 CSIRO Soils & landscape Lab Name | Adapter 4 Status | Adapter 4 APPROVED | Adapter 5 GA Name | Adapter 5 Status | Adapter 5 APPROVED | Adapter 6 GA Hydrochemistry | Adapter 6 Status | Adapter 6 APPROVED
yes | agent.LABORATORY |  | Alpha Numeric |  | Name of the lab running the test | N/A | N/A | N/A | O18 Provider, H2 Provider, H3 Provider | IMPLEMENTED | APPROVED | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Analytical Lab | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
yes | agent.DATA_OWNER | Recommended | Alpha | Stingray Jones | Name of either organisation or individual who owns the data. | See spec (slide 3) | IMPLEMENTED | APPROVED | N/A | N/A | N/A | N/A | IMPLEMENTED | See comments in 20250228 feedback file | Data Contact | IMPLEMENTED | See comments in 20241122 feedback form | N/A | N/A | N/A | N/A | N/A | N/A
yes | agent.PUBLICATION | Required | Alpha Numeric | Smith et al 2003 A paper on isotopes. Nature. | Publication details in which this data was first published in URL Format | See spec (slide 4) | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | (see spec) Sets, Projects, Exposures and Procedures have documents attached. Things like Well logs, project reports measuring recipies can be stored here. | IMPLEMENTED | APPROVED | Citation | IMPLEMENTED | See comments in 20241122 feedback form | SR_REF | IMPLEMENTED | APPROVED | PROJECT_PUBLICATIONS | IMPLEMENTED | APPROVED
| agent.DOI | Required | Alpha Numeric | https://doi.org/10.25919/5f051982ae71d |  | See spec (slide 4) | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | APPROVED | (see spec) | IMPLEMENTED | See comments in email from Axel dated 2 April | DOI | IMPLEMENTED |  | SR_PUBLICATION_LINKS | IMPLEMENTED | APPROVED | N/A | N/A | N/A
| agent.SUBSAMPLE_ANALYSIS_DATE |  | Numeric | DDMMYYYY | Date at which the sample/subsample was analysed | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Analysis Date | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| agent.ANALYSIS_COMMENTS |  | Alpha Numeric | Can be Null Analysis was run twice due to instrument error. | Any comments or remarks about an analysis | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | N/A (Axel&Lian meeting 2024-12-06) | Analytical Comments | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
yes | agent.SAMPLE_COLLECTED_BY |  | Alpha | Regina Campbell, CSIRO | Name and org of the person who collected the sample | N/A | N/A | N/A | N/A | N/A | N/A | N/A (Axel&Lian meeting 2024-12-06) | N/A (because of privacy) | N/A (Axel&Lian meeting 2024-12-06) | Sample Collected By | IMPLEMENTED |  | SAMPLE_ORIGINATOR | DISABLED | See comments in 20241220 feedback form | N/A | N/A | N/A

## Measurements
Measurable | isotope | unit | Analyte (description = Compound) | scale | MVP? | Adapter 1 Isoscape Mapping | Adapter 1 Status | Adapter 1 APPROVED | Adapter 2 ANSTO GNIP Mapping | Adapter 2 Status | Adapter 2 APPROVED | Adapter 3 CSIRO Labdata Mapping | Adapter 3 Status | Adapter 3 APPROVED | Adapter 4 CSIRO Soils & landscape Lab Name | Adapter 4 Status | Adapter 4 APPROVED | Adapter 5 Mapping | Adapter 5 Status | Adapter 5 APPROVED | Adapter 6 GA Hydrochemistry | Adapter 6 Status | Adapter 6 APPROVED | Attribute Name | Format | Element | Analyte | Example | uncertainty | Uncertainty Kind | Below/Above Detect. Limit | Consider for value control | Value | Label_OLD | Lithosurfer field description
δ13C-DIC (PDB) | δ(13C) | permille | DIC | PDB | Yes |  |  |  | N/A | N/A | N/A | (see spec) tblMeasurables id =13 , nvcName=13C of TDIC, ‰VPDB | IMPLEMENTED | APPROVED |  | IMPLEMENTED |  | N/A | N/A | N/A | CARBON_13_PER_MILLE | IMPLEMENTED | APPROVED | mea.CARBON_13_PER_MILLE | Float | C | 13C-DIC |  | Analytical uncertainty associated with procedure. | Analytical uncertainty type | Below detection limit: < Above detection limit: > | What is the relationship between the attribute name, element and analyte? |  | CARBON_13_PER_MILLE | C (per mille)
δ13C-DOC (PDB) | δ(13C) | permille | DOC | PDB | Yes |  |  |  | N/A | N/A | N/A |  | IMPLEMENTED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.CARBON_13_PER_MILLE | Float | C | 13C-DOC |  |  |  |  | Might these all be controlled? |  | CARBON_13_PER_MILLE
δ13C-CO2 (PDB) | δ(13C) | permille | CO2 | PDB | Yes |  |  |  | N/A | N/A | N/A |  | IMPLEMENTED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | C13_CARBON_DIOXIDE_PER_MILLE | IMPLEMENTED | APPROVED | mea.C13_CARBON_DIOXIDE_PER_MILLE | Float | C | 13C-CO2 | [6 empty] | C13_CARBON_DIOXIDE_PER_MILLE
δ13C-CH4 (PDB) | δ(13C) | permille | CH4 | PDB | Yes |  |  |  | N/A | N/A | N/A | tblMeasurables id =313 , nvcName= | IMPLEMENTED | APPROVED |  | IMPLEMENTED |  | N/A | N/A | N/A | CARBON_13_METHANE_PER_MILLE | IMPLEMENTED | APPROVED | mea.CARBON_13_METHANE_PER_MILLE | Float | C | 13-CH4 | [6 empty] | CARBON_13_METHANE_PER_MILLE
δ13C-Bulk (PDB) | δ(13C) | permille | Bulk | PDB | Yes |  |  |  | N/A | N/A | N/A |  | IMPLEMENTED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d13C_12C | Float | C | 13C-C | [6 empty] | δ13C/12C | d 13C/14C
δ15N-NO3 (Air - N2) | δ(15N) | permille | NO3 | Air - N2 | Yes |  |  |  | N/A | N/A | N/A | tblMeasurables id =99 , nvcName= | IMPLEMENTED | APPROVED |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d15N_NO3vsN2 | Float | N | 15N-NO3 | [6 empty] | δ15N-NO3 (vs N2)
δ15N-NH4 (Air - N2) | δ(15N) | permille | NH4 | Air - N2 | Yes |  |  |  | N/A | N/A | N/A |  | NOT SPECIFIED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d15N_NH4vsN2 | Float | N | 15N-NH4 | [6 empty] | δ15N-NH4 (vs N2)
δ15N-Bulk (Air - N2) | δ(15N) | permille | Bulk | Air - N2 | Yes |  |  |  | N/A | N/A | N/A |  | NOT SPECIFIED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d15N_Bulk | Float | N | 15N-N | [6 empty] | δ15N-Bulk
3H-H2O | 3H | TU | H2O | <empty> | Yes |  |  |  | H3 | IMPLEMENTED | APPROVED | tblMeasurables id =241 , nvcName=3H on Water, TU | IMPLEMENTED | See Axel's email |  | IMPLEMENTED |  | N/A | N/A | N/A | TRITIUM_TU | IMPLEMENTED | APPROVED | mea.H3 | Float | H | 3H-H | [6 empty] | H3 | Bq/kg, TU, atm%
δ18O-H2O (VSMOW) | δ(18O) | permille | H2O | VSMOW | Yes | See slide 2 for rainfall isoscape | IMPLEMENTED | APPROVED | O18 | IMPLEMENTED | APPROVED | tblMeasurables id =24 , nvcName=18O on Water, ‰SMOW | IMPLEMENTED | APPROVED |  | IMPLEMENTED | See comments in 20241122 feedback form | N/A | N/A | N/A | OXYGEN_18_WATER_PER_MILLE | IMPLEMENTED | APPROVED | mea.d18O_vsVSMOW | Float | O | 18O-O | [6 empty] | δ18O (vs VSMOW) | VSMOW (‰)
δ18O-SO4 (VSMOW) | δ(18O) | permille | SO4 | VSMOW | Yes |  |  |  | N/A | N/A | N/A |  | IMPLEMENTED | See Axel's email |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d18O_vsVSMOW | Float | O | 18O-SO4 | [6 empty] | δ18O (vs VSMOW) | VSMOW (‰)
δ18O-NO3 (VSMOW) | δ(18O) | permille | NO3 | VSMOW | Yes |  |  |  | N/A | N/A | N/A | tblMeasurables id = 27, nvcName= | IMPLEMENTED | APPROVED |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d18O_NO3vsVSMOW | Float | O | 18O-NO3 | [6 empty] | δ18O-NO3 (vs VSMOW) | VSMOW (‰)
δ18O-Bulk (VSMOW) | δ(18O) | permille | Bulk | VSMOW | Yes |  |  |  | N/A | N/A | N/A |  | IMPLEMENTED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d18O_16O | Float | O | 18O-O | [6 empty] | δ18O/16O | d180
δ17O-H2O (VSMOW) | δ(17O) | permille | H2O | VSMOW | Yes |  |  |  | N/A | N/A | N/A |  | NOT SPECIFIED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A |  | Flot | O | 17O-O | [7 empty] | VSMOW (‰)
δ17O-NO3 (VSMOW) | δ(17O) | permille | NO3 | VSMOW | Yes |  |  |  | N/A | N/A | N/A |  | NOT SPECIFIED |  |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d17ONO3vsVSMOW | Float | O | 17O-NO3 | [6 empty] | δ17O-NO3 (vs VSMOW) | VSMOW (‰)
87Sr/86Sr-Bulk | 87Sr/86Sr | <empty> | Bulk | <empty> | Yes |  |  |  | N/A | N/A | N/A | (see spec) tblMeasurables id = 303, nvcName= | IMPLEMENTED | See Axel's email |  | needs specification |  | see example | IMPLEMENTED | APPROVED | SR87_SR86_RATIO | IMPLEMENTED | APPROVED | mea.d87SR_86SR | Float | Sr | [7 empty] | δ87SR/86SR
87Sr/86Sr-H2O | 87Sr/86Sr | <empty> | H2O | <empty> | Yes |  |  |  | N/A | N/A | N/A |  | IMPLEMENTED |  |  | needs specification |  | N/A | N/A | N/A | N/A | N/A | N/A
δ2H-CH4 (VSMOW) | δ(2H) | permille | CH4 | VSMOW | Yes |  |  |  | N/A | N/A | N/A | tblMeasurables id =314 , nvcName= | IMPLEMENTED | APPROVED |  | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A | mea.d2HvsVSMOW | Float | H | 2H-H | [6 empty] | δ2H (vs VSMOW) | VSMOW (‰)
δ2H-H2O (VSMOW) | δ(2H) | permille | H2O | VSMOW | Yes | See slide 2 for rainfall isoscape | IMPLEMENTED | APPROVED | H2 | IMPLEMENTED | APPROVED | tblMeasurables id =120 , nvcName=2H on Water, ‰SMOW | IMPLEMENTED | APPROVED |  | IMPLEMENTED | See comments in 20241122 feedback form | N/A | N/A | N/A | DEUTERIUM_WATER_PER_MILLE | IMPLEMENTED | APPROVED |  | Float | H | 2H-H
| D-excess | permille | Bulk | VSMOW | Yes | See slide 2 for rainfall isoscape | IMPLEMENTED | Meeting with Nina, Moritz and Wayne 17 April, decided to leave D-excess as is | N/A | N/A | N/A | N/A | N/A | N/A |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A

## Method
Consider for value control | Attribute Name | Required? | Format | Example | Comments on common ontology attribute | Adapter 1 Isoscape Mapping | Adapter 1 Status | Adapter 1 APPROVED | Adapter 2 ANSTO GNIP Mapping | Adapter 2 Status | Adapter 2 APPROVED | Adapter 3 CSIRO Labdata Mapping | Adapter 3 Status | Adapter 3 APPROVED | Adapter 4 CSIRO Soils & landscape Lab Name | Adapter 4 Status | Adapter 4 APPROVED | Adapter 5 GA Name | Adapter 5 Status | Adapter 5 APPROVED | Adapter 6 GA Hydrochemistry | Adapter 6 Status | Adapter 6 APPROVED
| meth.METHOD_SAMPLE_COLLECTION |  | Alpha Numeric |  | Can be null This can be either a relevant identifier or description on the method used to collect if documented within the DB structure. If it is only documented in the final report, there is no need to create this field. Here you would want to link this attribute to your article or methods documentation. | N/A | N/A | N/A | N/A | N/A | N/A | (see spec) MethodID (At the subsample level) e.g. filtrated with 0.45micrometer celulose in the fiel. Acidified in the field | N/A | N/A | Sample Collection Method | IMPLEMENTED |  | COLLECTION_TYPE | IMPLEMENTED | APPROVED | N/A | N/A | N/A
yes | meth.METHOD_SAMPLE_CONTAINER |  | Alpha Numeric |  | Can be null would be the type of container the sample is within - ie perciptiation would be nalgen bottole, funnel to bottle, evaporation tray, etc Water would be glass, copper tube, etc (obvs the more specific name for the exact vessel but this is just explainatory) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Sample Container | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
yes | meth.METHOD_SUBSAMPLE_CONTAINER |  | Alpha Numeric |  | Can be null would be the type of container the sample is within if the sample is further subdivided at a later time before analysis can happen. - ie perciptiation would be nalgen bottole, funnel to bottle, evaporation tray, etc Water would be glass, copper tube, etc (obvs the more specific name for the exact vessel but this is just explainatory) | N/A | N/A | N/A | N/A | N/A | N/A | Could in some cases be inferred from the methodID which identifies the method that was used to create the sample | N/A | N/A | Subsample Container | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
yes | meth.METHOD_SAMPLE_PRETREATMENT |  | Alpha Numeric |  | Can be null Details on any pretreatments (or treatments applied to the sample in field or further processing done in order to make the sample ready for lab testing). The pretreatment of geological samples (soil, sediment, ore, rock, clay, archaeological ceramic) in general consists in grinding, dividing bulk sample to obtain proper size sample, and sieving. | N/A | N/A | N/A | N/A | N/A | N/A | MethodID (At the subsample level) e.g. filtrated with 0.45micrometer celulose in the fiel. Acidified in the field. but if SubSamples are created from SubSamples in the lab they also must have a method: e.g. water distilled out of a soil core. | N/A | N/A | Sample Pretreatment Method | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
? | meth.SAMPLE_STORAGE_CONDITIONS |  | Alpha Numeric |  | Can be null Details on the manner in which the sample was stored and handled until it was tested | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Sample Storage | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| meth.SAMPLE_ANALYSED_TYPE_DESCR |  | Alpha Numeric |  | Can be null Description of the subsample analysed in the laboratory - additional details as it relates to the SAMPLE_ANALYSED_TYPE | N/A | [5 empty] | various columns in table Procedures | [5 empty] | N/A |  |  | MATERIAL_CLASS | IMPLEMENTED | See comments in 20241004 feedback form

## Traceability
Consider for value control | Attribute Name | Required? | Format | Example | Comments on common ontology attribute | Adapter 1 Isoscape Mapping | Adapter 1 Status | Adapter 1 APPROVED | Adapter 2 ANSTO GNIP Mapping | Adapter 2 Status | Adapter 2 APPROVED | Adapter 3 CSIRO Labdata Name | Adapter 3 Status | Adapter 3 APPROVED | Adapter 4 CSIRO Soils & landscape Lab Name | Adapter 4 Status | Adapter 4 APPROVED | Adapter 5 GA Name | Adapter 5 Status | Adapter 5 APPROVED | Adapter 6 GA Hydrochemistry | Adapter 6 Status | Adapter 6 APPROVED
| traceability.METROLOGICAL_TRACEABILITY | Desired | Alpha Numeric | Measured nitrogen isotope-delta values were calibrated with respect to atmospheric nitrogen (Air-N2) using RMs (names, their values associated standard or expanded uncertainties). Each RM was measured in duplicate at the start and end of each daily group of analyses of samples (number of repeated measurements on each sample). OR The results are reported as δ13C (‰) with traceability to VPDB scale through IAEA-CH-6 (‐10.45 ± 0.03) ‰ and USGS 64 (–40.86 ± 0.04) ‰, data normalised by two-point normalisation after drift correction. Each RM was measured in duplicate in the beginning and the end of sequence. Each sample was measured duplicate. | • Unit of measurement ie ‰ or per mille • Scale: ie. PDB, VPDB, VPDB-LSVEC (for C), VSMOW, VCDT • Reference materials: ie. List the identity of RMs used to normalise isotope delta values (if possible, including values and uncertainties assigned to them) • Data treatment: ie. brief description of how the measured | N/A | N/A | N/A | N/A | N/A | N/A | Procedures table (linked via MethodID to SubSamples and via ProcedureID to tblValues) | N/A | N/A | Data Post Processing | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| traceability.TRACEABILITY_ANALYTICAL_PROCEDURE | Desired | Alpha Numeric | The honey sample was stored in 40oC oven to maintain in liquid form. Sample was allowed to equilibrate to room temperature prior to weighing. Approximately (0.9 ±0.10) mg was weighed into tin foil capsules using a 5-figure balance and analysed for stable carbon isotope composition using Thermo Flash Elemental Analyser connected to Thermo Delta V through Conflo IV peripheral..etc | • The analytical technique: ie. is it bulk isotope analysis using EA-IRMS (Elemental analyser coupled isotope ratio mass spectrometry) or compound specific isotope analysis which will requiring separation prior to analysis ie. GC- or LC-IRMS • Sample preparation: ie. x mg of sample weighed into tin or silver capsules, sample combusted at x temperature, any reduction of combusted gas and removal of water, carrier gas (grade and brand), flow rate, any GC column (brand) used…etc • Instrument and control: ie. brand and model of peripheral connected to mass spectrometer, software package, version * washing, drying, grinding, filtering, weighing, extraction, equilibration, precipitation, digestion tin cups, reactor oxides, copper, water trap reagents, acids) | N/A | N/A | N/A | N/A | N/A | N/A | Procedures table (linked via MethodID to SubSamples and vie ProcedureID to tblValues). Procedures can have a linked document (e.g. pdf describing all the details) | N/A | N/A | Analytical Procedcre | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| traceability.TRACEABILITY_UNCERTAINTY | Desired | Alpha Numeric | The measurement uncertainty for the reported values was evaluated from both known sources and uncertainty from the RMs used for normalisation. The combined standard uncertainty was multiplied by a coverage factor (k) of 2 to give an expanded U within the 95% confidence. -OR- The uncertainty of the reported isotope delta values was evaluated as standard deviation of the mean of repeated (n=7) measurement within the same batch of analysis | ie. delta value must be reported with standard uncertainty/expanded with coverage factor and coverage probability combined analytical uncertainity is IUPAC gold standard | N/A | N/A | N/A | N/A | N/A | N/A | Values$Error | N/A | N/A | Measurement Uncertainty | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| traceability.DATA_PROCESSING | Desired | Alpha Numeric | the measurement model equation or describing the basic principles used to normalise stable isotope measurement results Any and all corrections applied to instrumental readings Results of analyses of samples with exchangeable hydrogen or oxygen, should be accompanied by details on water equilibration with non-exchangeable RMs or comparative equilibration with matrix matched RMs | linear ordinary least squares regression, quadratic errors-in-variables regression or other blank, memory effects, drift, linearity/mass effects, isobaric and other interferences | See spec (slide 3) | IMPLEMENTED | APPROVED | N/A | N/A | N/A | N/A | N/A | N/A | Data Processing | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| traceability.UNCERTAINTY_EVALUATION | Desired | Alpha Numeric | standard uncertainty or expanded uncertainty with coverage factor and coverage probability Conformity of results to the method performance characteristics | standard deviation of a stated number of analyses of each RM, sample, or a matrix-matched qualtiy control (QC) material. | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Uncertainty Evaluation | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| traceability.REFERENCE_MATERIAL_USED | Recommended | Alpha Numeric | USGS40 |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Reference Material | IMPLEMENTED |  | STANDARD_NAME | IMPLEMENTED | APPROVED | N/A | N/A | N/A
| traceability.VALUE_REFERENCE_MATERIAL | Recommended | Numeric | –26.39 |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Value Reference | IMPLEMENTED |  | STANDARD_VALUE | IMPLEMENTED | APPROVED | N/A | N/A | N/A
| Traceabilty.UNCERTAINTY_REFERENCE_MATERIAL | Recommended | Numeric | 0.004 |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Uncertainty Reference | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A
| Traceability.UNIT_UNCERTAINTY_REFERENCE_MATERIAL | Recommended | Alpha | stdev (standard deviation) |  | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Unit Uncertainty Reference | IMPLEMENTED |  | N/A | N/A | N/A | N/A | N/A | N/A

## FLAT
| Attirbute Name | Required? | Format | Example | Comments | CSIRO Labdata Name | CSIRO Soils & landscape Lab Name | GA Name | ANSTO Name | Other Know Names
SAMPLE | SAMPLE_ID | Yes | Alpha Numeric | SAMPLE001, 19275 | Designator for the main sample or the main project that you are sampling from a specific site | SamplingID (SQL generated numeric) | Sample_ID (i.e. CSIRO ID) | SAMPLEID | Sample_ID
| SAMPLE_SUBSAMPLE_ID | Yes | Alpha Numeric | 39506 | Can be null value If sample is further divided or when multiple samples are collected at a site at a time | SubSampleID (SQL generated numeric) | Sample_ID_subID | N/A
| SAMPLE_DATE_START | Yes | Numeric | DDMMYYYY | Date of sample collection | SamplingDate, EntryDate (for subsamples), SQL Date format (includes date & time) | Sampling_Date | SAMPLING_DATE | Begin Date
| SAMPLE_TIME_START | Yes | Numeric | HH:MM | Can be null Time of sample collection. If a percipitation sample this would be the start sample time period of collection. | SamplingDate, EntryDate (for subsamples), SQL Date format (includes date & time) |  | N/A
| SAMPLE_TIMEZONE | Yes | Alpha | AEST | relevant timezone of the sample | missing!!! |  | N/A
| SAMPLE_DATE_END | Yes | Numeric | DDMMYYYY | Can be null Date of sample collection for sampling collected of a period of time. | SamplingDateEnd , SQL Date format (includes date & time) | Date | N/A | End Date
| SAMPLE_TIME_END | Yes | Numeric | HH:MM | Can be null End Time of sample collection. If a percipitation sample this would be the end sample time period of collection. | SamplingDateEnd , SQL Date format (includes date & time) | N/A | N/A
| SAMPLE_TYPE | Yes | Alpha | Water, Soil, Plant, Animal | This now includes food because that would logically be a sample | Exposure$KindOf (for the type of site) or SubSample Method (for the kind SubSample: ProductMaterial) | Sample type or Media | SAMPLE_TYPE
| SAMPLE_SUBTYPE | Yes | Alpha | Groundwater, surface water, precipitation, etc {Are there diff soil types in this context) When this is a food type substance (ie plant this would be the MATRIX - Leaf, Juice, Stem, etc)) | Variable dependant on SAMPLE_TYPE selection | Exposure$KindOf (for the type of site such as rain water collection station or groundwater for a well: can be null) or SubSample Method (for the kind SubSample: ProductMaterial) which MUST be given. |  | MATERIAL_CLASS | Sample_Type
| SAMPLE_SOURCE_TYPE | Yes | Alpha Numeric | Riparian, siliciclastic sedimentary rock | Variable dependant on SAMPLE_TYPE selection, inclusive of lithology (Brief description of the primary lithology of the rock unit. ) | The SubSample recursion has an educt material and a product material (e.g. for taking a wet soil sample as educt two SS could follow as product: dry soil and distilled water) |  | LITHOLOGY
| SAMPLE_SITE_AIR_TEMPERATURE_DEGC | Yes | Numeric, C | 26.2 | Can be null if not collected or relvant for the type of sample in question Air temperature at time sample was taken. | These are measured values, related to the Exposure via -> Sampling (defines the time interval) -> SubSample and -> Values | N/A | N/A
| SAMPLE_AMOUNT | Yes | Numeric | mm | Can be null This is for the collection of the amount/weight/volume of a sample collected. | Could in some cases be inferred from the methodID which identifies the method that was used to create the sample
| SAMPLE_UOM | Yes | Alpha | mm, L, mL | Can be null This is for the UOM related to SAMPLE_AMOUNT to know how much of a given type of sample is collected
| SAMPLE_SOURCE_FORM | Yes | Alpha Numeric | Liquid, Frozen, etc | the form of the water at sampling time | The SubSample recursion has an educt material and a product material (e.g. for taking a wet soil sample as educt two SS could follow as product: dry soil and distilled water) | Two columns: Udepth and Ldepth (Upper depth of layer (cm) and Lower depth of layer (cm)) | N/A
| SAMPLE_DESCRIPTION | Yes | Alpha Numeric |  | Any relevant additional information on the sample that does not fit elsewhere (Formal Study, Hobby, Experiment Design, etc) | SampleNameBySubmitter, Remarks (both in Sampling and SubSamples tables) | Details | COMMENTS
| SAMPLE_CONFIDENTIAL_DATE | Yes | Numeric | DDMMYYYY | Date the data is confidential until | There is no "date until" in LabData, confidentiality level is defined numerical from 0 to 255 | N/A | N/A
| SAMPLE_PID | Yes | Alpha Numeric | https://pid.geoscience.gov.au/dataset/ga/147298 | unique, permanent URI linked to the data | external IDs (alphanumeric) can be defined on the level of Exposure (=site), Sampling and SubSample and in principle also in the remarks field in nearly every table | Original ID | SAMPLE_PID
| SAMPLE_PROJECT_IDENTIFIER | Yes | Alpha Numeric | EFTF - Upper Darling Floodplain Groundwater | Can be null if not attached to a project id Name & any relevant code of the project under which the analyses were originally run | Samplings are related to Projects (n:m relation) and to Sets (1:n). Set is rather defined as "batch" in other lab contexts. Projects are recursive, so any new project can comprise data of several former projects. | WBS or O2D number | PROJECT
| SAMPLE_PRECIPITATION_AMOUNT | Yes | Numeric | mm | For precipitation samples only
METHOD | METHOD_SAMPLE_COLLECTION | Yes | Alpha Numeric |  | Can be null This can be either a relevant identifier or description on the method used to collect if documented within the DB structure. If it is only documented in the final report, there is no need to create this field. Here you would want to link this attribute to your article or methods documentation. | MethodID (At the subsample level) e.g. filtrated with 0.45micrometer celulose in the fiel. Acidified in the field |  | SAMPLING_METHOD | Type | SamplingMethodID
| METHOD_SAMPLE_CONTAINER | Yes | Alpha Numeric |  | Can be null would be the type of container the sample is within - ie perciptiation would be nalgen bottole, funnel to bottle, evaporation tray, etc Water would be glass, copper tube, etc (obvs the more specific name for the exact vessel but this is just explainatory) |  | N/A
| METHOD_SUBSAMPLE_CONTAINER | Yes | Alpha Numeric |  | Can be null would be the type of container the sample is within if the sample is further subdivided at a later time before analysis can happen. - ie perciptiation would be nalgen bottole, funnel to bottle, evaporation tray, etc Water would be glass, copper tube, etc (obvs the more specific name for the exact vessel but this is just explainatory) | Could in some cases be inferred from the methodID which identifies the method that was used to create the sample | N/A
| METHOD_SAMPLE_PRETREATMENT | Yes | Alpha Numeric |  | Can be null Details on any pretreatments (or treatments applied to the sample in field or further processing done in order to make the sample ready for lab testing). The pretreatment of geological samples (soil, sediment, ore, rock, clay, archaeological ceramic) in general consists in grinding, dividing bulk sample to obtain proper size sample, and sieving. | MethodID (At the subsample level) e.g. filtrated with 0.45micrometer celulose in the fiel. Acidified in the field. but if SubSamples are created from SubSamples in the lab they also must have a method: e.g. water distilled out of a soil core. | Fraction | N/A
| SAMPLE_STORAGE_CONDITIONS | Yes | Alpha Numeric |  | Can be null Details on the manner in which the sample was stored and handled until it was tested |  |  | N/A
| SAMPLE_ANALYSED_TYPE | Yes | Alpha Numeric | Methane | Can be null Type of subsample analysed in the laboratory - the sample being anlysed for achieving what measurement | table Procedures$ProductMaterial (linked via MethodID). But also every value produced has a method. (eg. EC measured with conductivity meter x or 18O measured with IRMS y) | Analysis | N/A | Media
| SAMPLE_ANALYSED_TYPE_DESCR | Yes | Alpha Numeric | Methane sourced from water sample | Can be null Description of the subsample analysed in the laboratory - additional details as it relates to the SAMPLE_ANALYSED_TYPE | various columns in table Procedures |  | N/A
SITE | SITE_NAME | Yes | Alpha Numeric | Darling River | Name assigned to the collection site. | ExposureName | N/A | ENTITY_ID
| SITE_NUMBER | Yes | Numeric |  |  | ExposureID (numeric, SQL generated), Exposure$ExternalIDs (Alphanumeric) | N/A | ENO
| SITE_TYPE | Yes | Alpha Numeric | water course | Type of collection site, i.e. a river, borehole, field site, mine. | Exposure KindOf (e.g. GW well, River, Rainwater collector) | N/A | BOREHOLE_TYPE, FIELDSITE_TYPE | Bore_ID | Look at isohis lookup values col CF for example
| SITE_DESCRIPTION | Yes | Alpha Numeric |  | Any relevant information that would be helpful to one reviewing the measurement to know in their analysis. Such as "On the edge of the Darling River, river is high and flowing due to recent rain." Could also include the incline of the borehole. | Exposure$Remarks | Comments | LOCATION_DESC, REMARKS
| SITE_WATER_TEMPERATURE_DEGC | Yes | Numeric | 31.2 | Can be null for soil samples Temperature of a water sample | These are measured values, related to the Exposure via -> Sampling (defines the time interval) -> SubSample and -> Values | N/A | FIELD_TEMPERATURE
| SITE_SALINITY_US_CM | Yes | Numeric | 1215 | Can be null Measurement of the salinity of the water sample | These are measured values, related to the Exposure via -> Sampling (defines the time interval) -> SubSample and -> Values | N/A | FIELD_EC
| SITE_AIR_PRESSURE | Yes | Numeric | 2455 | Can be null Air pressure at time sample was taken. | These are measured values, related to the Exposure via -> Sampling (defines the time interval) -> SubSample and -> Values | N/A | N/A
| SITE_pH | Yes |  |  | This can be null, but is the basic chemistry analysis if available |  | N/A
| SITE_ELECTRICAL_CONNECTIVITY | Yes |  |  | This can be null, but is the basic chemistry analysis if available |  | N/A
| SITE_TURBIDITY | Yes |  |  | This can be null, but is the basic chemistry analysis if available |  | N/A
| SITE_HUMIDITY | Yes |  |  | This can be null, but is the basic chemistry analysis if available |  | N/A
| SITE_MOISTURE_CONTENT | Yes |  |  | This can be null, but is the basic chemistry analysis if available |  | can be N/A, could be bulk density
| DO | Yes |  |  | This can be null, but is the basic chemistry analysis if available
| ORP | Yes |  |  | This can be null, but is the basic chemistry analysis if available
| SITE_LATITUDE | Yes | Numeric | -33.7 | Latitude of the sample collection site | Exposure$Latitude; Exposure$ImportLatitude; Exposure$CoorKind. Latitude is a unique format over the database (deg.decimals), Import Latitude is what the submitter provides (defined by CoorKind) | Lat | LAT_GDA94
| SITE_LONGITUDE | Yes | Numeric | 150.8833 | Longitude of the sample collection site | Exposure$Longitude; Exposure$ImportLongitude; Exposure$CoorKind. Longitude is a unique format over the database (deg.decimals), Import Longitude is what the submitter provides (defined by CoorKind) | Long | LONG_GDA94
| SITE_LAT_LONG_REFERENCE_SYSTEM | Yes | Alpha Numeric | GDA94, WGS84 | The reference system used for the Lat/Long measurment | Exposure CoorKind |  | N/A (see above)
| SITE_ELEVATION_AHD_M | Yes | Numeric | 243 | Can be null Elevation or altitude in metres relative to the Australian Height Datum | Exposure$Elevation |  | ELEV_M_AHD
| SITE_ELEVATION_AHD_M_REFERENCE | Yes | Alpha Numeric | Borehole, Ground Floor, etc | Can be null point of reference for the measurement of SITE_ELEVATION_AHD_M | reference always AHD |  | N/A
| SITE_UPPER_DEPTH_M | Yes | Numeric | 10 | Can be null Upper limit of depth at which field sample was collected, in metres from surface | Exposure$ScreenTop | Udepth (Upper depth of layer (cm) ) | INTERVAL_BEGIN_M
| SITE_LOWER_DEPTH_M | Yes | Numeric | 12 | Can be null Lower limit of depth at which field sample was collected, in metres from surface | Exposure$ScreenBottom; Exposure$FinalDepth | Ldepth ( Lower depth of layer (cm)) | INTERVAL_END_M | Well total depth
| SITE_WATER_LEVEL | Yes | Numeric |  | Can be null Would be used in terms of a Dam water collection to note the Dams water level | Measured value, having a date and time |  | FIELD_SWL
| SITE_STORAGE_VOLUME | Yes | Numeric | For any lakes, reservoirs or dams where they have capture the capcity of water storage | Only required if water sample comes from a Dam, Lake or Reservoir - so this field is nullable. Total Dam water volume | not stored | N/A | N/A
| SITE_FLOW_RATES | Yes | Numeric |  | Can be null Flow rates at the sample water site | measured value in tblValues | N/A | N/A
| SITE_STRATIGRAPHIC_UNIT | ? | Alpha | Hutton Sandstone | Can be null Name of the stratigraphic unit (as per Australian Stratigraphic Units Database where possible) | Exposure$StratigraphicUnits: n:m relation. an exposure can cut through (or sample GW from) several stratigraphic units and a stratigraphic unit can have many exposures (e.g. wells). the connectiing table stores the depth (top & bottom) where the exposure cuts the stratigraphic unit. |  | STRAT_UNIT_NAME
MEASUREMENTS | CARBON_13_PER_MILLE | Yes |  | C | 13C-DIC-H2O | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | Analysis (Reported as analyte)
| CARBON_13_PER_MILLE | Yes |  | C | 13C-DOC-H2O | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | Reported as analyte
| C13_CARBON_DIOXIDE_PER_MILLE | Yes |  | C | 13C-CO2 | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | Reported as analyte
| CARBON_13_METHANE_PER_MILLE | Yes |  | C | 13-CH4 | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | Reported as analyte
| δ15N-NO3 (vs N2) | Yes |  | N | 15N-NO3 | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | Reported as analyte
| δ15N-NH4 (vs N2) | Yes |  | N | 15N-NH4 | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | Reported as analyte
| δ15N-Bulk | Yes |  | N | 15N-N | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | Reported as analyte (ex 'd 13C/12C or 'AT% 13C/12C)
| d 15N/14N | Yes |  | N | 15N-N2 |  | Values Reported as: "delta or atm %"
| d 13C/14C | Yes |  | C | 13C-C |  | Values Reported as: "delta or atm %"
| d 18O | Yes |  | O | 18O-O |  | Reported as analyte (ex 'd 15N/14N or 'AT% 15N/14N)
| dH3 | Yes |  | H | 3H-H |  | Values Reported as: "delta or atm %"
| OXYGEN_18_WATER_PER_MILLE | Yes |  | O |  | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | N/A |  | O18
| δ17O-NO3 (vs VSMOW) | Yes |  | O |  | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | N/A
| δ18O-NO3 (vs VSMOW) | Yes |  | O |  | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | N/A
| SR87_SR86_RATIO | Yes |  | Sr |  | tblValues_Value, tblValues_Error, tblValues_SubSampleID, tblValues_Procedure | N/A
TRACEABILITY | METROLOGICAL_TRACEABILITY | YES | Alpha Numeric | Measured nitrogen isotope-delta values were calibrated with respect to atmospheric nitrogen (Air-N2) using RMs (names, their values associated standard or expanded uncertainties). Each RM was measured in duplicate at the start and end of each daily group of analyses of samples (number of repeated measurements on each sample). | • Unit of measurement ie ‰ or per mille • Scale: ie. PDB, VPDB, VPDB-LSVEC (for C), VSMOW, VCDT • Reference materials: ie. List the identity of RMs used to normalise isotope delta values (if possible, including values and uncertainties assigned to them) • Data treatment: ie. brief description of how the measured | Procedures table (linked via MethodID to SubSamples and via ProcedureID to tblValues) | Analysis
| TRACEABILITY_ANALYTICAL_PROCEDURE | YES | Alpha Numeric | The honey sample was stored in 40oC oven to maintain in liquid form. Sample was allowed to equilibrate to room temperature prior to weighing. Approximately (0.9 ±0.10) mg was weighed into tin foil capsules using a 5-figure balance and analysed for stable carbon isotope composition using Thermo Flash Elemental Analyser connected to Thermo Delta V through Conflo IV peripheral..etc | • The analytical technique: ie. is it bulk isotope analysis using EA-IRMS (Elemental analyser coupled isotope ratio mass spectrometry) or compound specific isotope analysis which will requiring separation prior to analysis ie. GC- or LC-IRMS • Sample preparation: ie. x mg of sample weighed into tin or silver capsules, sample combusted at x temperature, any reduction of combusted gas and removal of water, carrier gas (grade and brand), flow rate, any GC column (brand) used…etc • Instrument and control: ie. brand and model of peripheral connected to mass spectrometer, software package, version * washing, drying, grinding, filtering, weighing, extraction, equilibration, precipitation, digestion tin cups, reactor oxides, copper, water trap reagents, acids) | Procedures table (linked via MethodID to SubSamples and vie ProcedureID to tblValues). Procedures can have a linked document (e.g. pdf describing all the details) | Method (i.e. 'Flash IRMS Dual NC) & 'Gasconfiguration ( 'N2)
| TRACEABILITY_UNCERTAINTY | YES | Alpha Numeric | The measurement uncertainty for the reported values was evaluated from both known sources and uncertainty from the RMs used for normalisation. The combined standard uncertainty was multiplied by a coverage factor (k) of 2 to give an expanded U within the 95% confidence. -OR- The uncertainty of the reported isotope delta values was evaluated as standard deviation of the mean of repeated (n=7) measurement within the same batch of analysis | ie. delta value must be reported with standard uncertainty/expanded with coverage factor and coverage probability | Values$Error | Steve: As per Christoph & Axel's comments
| DATA_PROCESSING | YES | Alpha Numeric | the measurement model equation or describing the basic principles used to normalise stable isotope measurement results Any and all corrections applied to instrumental readings Results of analyses of samples with exchangeable hydrogen or oxygen, should be accompanied by details on water equilibration with non-exchangeable RMs or comparative equilibration with matrix matched RMs | linear ordinary least squares regression, quadratic errors-in-variables regression or other blank, memory effects, drift, linearity/mass effects, isobaric and other interferences
| UNCERTAINTY_EVALUATION | YES | Alpha Numeric | standard uncertainty or expanded uncertainty with coverage factor and coverage probability Conformity of results to the method performance characteristics | standard deviation of a stated number of analyses of each RM, sample, or a matrix-matched qualtiy control (QC) material.
AGENT - LAB, PERSON | LABORATORY | Yes | Alpha Numeric |  | Name of the lab running the test
| DATA_LAB_CONTACT | Yes | Alpha | Fredericka Smith | Name of the contact person (lab) for the data |  | Steve: As per comments (YES)
| DATA_OWNER | Yes | Alpha | Stingray Jones | Name of either organisation or individual who owns the data. | Persons have n:m relations to Samplings, to Exposures and to Sets (batches). The "KindOfPerson" field in the n:m relation talbe defines the role of the person (e.g. well owner, sample taken by, PhD student, submitter, measuring machine slave...) | Steve: As per comments (YES)
| PUBLICATION | Yes | Alpha Numeric | Smith et al 2003 A paper on isotopes. Nature. doi:1223.34435_4adfj | Publication details in which this data was first published in URL Format | Sets, Projects, Exposures and Procedures have documents attached. Things like Well logs, project reports measuring recipies can be stored here. | Steve: As per comments (YES)
| SUBSAMPLE_ANALYSIS_DATE | Yes | Numeric | DDMMYYYY | Date at which the sample/subsample was analysed | Measurement date in tblValues, Creation date in tblSubSamples (both SQL date fields storing date & time) | Steve: As per comments (YES)
| ANALYSIS_COMMENTS | Yes | Alpha Numeric | Can be Null Analysis was run twice due to instrument error. | Any comments or remarks about an analysis | Remarks field in nearly all tables, such as Exposures, Samplings, SubSamples, Procedures, Values... | Steve: As per comments (YES)
| LAB_QC | Yes | ALPha Numeric |  |  | part of tblProcedures | Steve: As per comments (YES)
| COLLECTION_ANALYTICAL_METHOD | Yes | Alpha Numeric | Samples of plant leaves were washed with deionized water (deionised water 0.05 μS cm−1), dried in the laboratory oven at 50 °C over 48 h, and ground in a ball mill (Fritsch, Idar-Oberstein, Germany) to fine powders. Aliquots of (1.0 ± 0.1) mg were placed in tin capsules (8 mm × 5 mm, IVA Analysentechnik, Meerbusch, Germany) and analysed for stable carbon isotope composition, using a continuousflow system consisting of an elemental analyser (Thermo Flash 1112) connected via a Conflo IV peripheral to a Delta V Plus mass spectrometer (Thermo-Finnigan, Germany). In the elemental analyser, each sample was combusted quantitatively with oxygen added to the helium stream at a temperature of 1000 °C in a reactor comprised of Cr2O3 (IVA) and silvered oxides of cobalt (IVA) and then NOx gases were reduced at 650 °C with electrolytic copper (IVA) to produce N2. The gases obtained were carried through water traps (granular magnesium perchlorate, Sercon, UK) and GC column in a stream of helium (grade 99.999 % purity; BOC, Australia, 100 mL/min), then CO2 was introduced into the isotope ratio mass spectrometer. | Type of analutical method used to collect the data | part of the documentation in tblProcedures |  | SAMPLING_METHOD
| COLLECTION_METHOD_QC | Yes | Alpha Numeric |  |  | part of the documentation in tblProcedures (applied to creating SubSamples) |  | N/A
| SAMPLE_COLLECTED_BY | Yes | Alpha | Regina Campbell, CSIRO | Name and org of the person who collected the sample | PersonsForSamplings table, PersonsForSets table (see row a) |  | ORIGINATOR
| SAMPLE_LAB_ANLYSED_BY | Yes | Alpha |  | Name of the person at the lab who analysed the sample | (see row a) |  | LAB

## Mapping Inputs
| Attribute or Measurable | Adapter 1 Mapping Input | Adapter 2 Mapping Input | Adapter 3 Mapping Input | Adapter 4 Mapping Input | Adapter 5 Mapping Input | Adapter 6 Mapping Input
SITE_LATITUDE | Latitude | Latitude degrees S | Latitude | tblExposures.fLatitude | Latitude | LAT_GDA94 | LAT_GDA94
SITE_LONGITUDE | Longitude | Latitude degrees E | Longitude | tblExposures.fLongitude | Longitude | LONG_GDA94 | LONG_GDA94
SITE_ELEVATION_AHD_M | Site Elevation | Elevation mAHD |  | tblExposures.fElevation | Ground Elevation m | ELEV_M_AHD
SAMPLE_ID | Sample ID | row number | WMO Code Sample Name | tblSamplings.iSamplingID | Sample ID | SAMPLE_ID | SAMPLE_ID
SAMPLE_TYPE | Sample Type | "Water" | Media Type | tblExposures.nvcKindOf | Sample Type | SAMPLE_TYPE | SAMPLE_TYPE
SAMPLE_PROJECT_DESCRIPTION | Project description | "The rainfall isoscape ..." | "Monthly rainfall ..." |  | Project description
SAMPLE_PROJECT_IDENTIFIER | Project Name | "Australian Rainfall ..." | "Australian Global Network ..." |  | Project Name
PUBLICATION | Citation |  |  | *tblDocuments.nvcCitation *tblDocuments.nvcDOI | Citation | PROJECT | PROJECT
SAMPLE_PID | Sample PID |  |  |  | Sample PID | SAMPLE_PID | SAMPLE_PID
SAMPLE_ANALYSED_TYPE_DESCR | Sample Analysed Type Descr |  |  |  | Sample Analysed Type Descr |  | MATERIAL_CLASS
SITE_WATER_TEMPERATURE_DEGC | Water Temp DegC |  |  |  | Water Temp DegC | FIELD_TEMPERATURE | FIELD_TEMPERATURE_DEGC
SITE_SALINITY_US_CM | Salinity |  |  |  | Salinity | FIELD_EC | FIELD_EC_US_CM
SITE_pH | pH |  |  |  | pH |  | FIELD_PH
ORP | ORP |  |  |  | ORP |  | FIELD_ORP_MV
SITE_NAME | Site Name |  | Date Location | tblSamplings.iSamplingID | Site Name | SAMPLING_FEATURE NAME | SAMPLING_FEATURE_NAME
SITE_NUMBER | Site ID |  | Date Location |  | Site ID | ENO | ENO
SITE_TYPE | Site Type |  | Date Location | tblExposures.nvcKindOf | Site Type | SAMPLING_FEATURE_TYPE | SAMPLING_FEATURE_TYPE
SITE_LAT_LONG_REFERENCE_SYSTEM | LatLonReference |  | "Geocentric Datum of Australia, 1994" | "WGS84" |  | "GDA94" | "GDA94"
SAMPLE_DATE_START | Sample Start Date | "1964-01-01" | Begin of Period | tblSamplings.dSamplingDate | Sample Start Date | SAMPLE_ACQUISITION_DATE | SAMPLING_DATE
SAMPLE_DATE_END | Sample End Date | "2014-12-31" | End of Period | tblSamplings.dSamplingDateEnd | Sample End Date
SAMPLE_SOURCE_TYPE | Sample Source Type | "Precipitation" | Media Type | tblExposures.nvcKindOf | Sample Source Type | MATERIAL_TYPE | MATERIAL_CLASS
SAMPLE_SUBTYPE | Sample Subtype |  | Media Type |  | Sample Subtype | MATERIAL_TYPE | MATERIAL_CLASS
UI_FILTER_PATH | UI_FILTER_PATH | "/Water/Precipitation" | "/Water/Precipitation" | tblExposures.nvcKindOf | UI_FILTER_PATH | SAMPLE_TYPE MATERIAL_TYPE | SAMPLE_TYPE MATERIAL_CLASS
SITE_DESCRIPTION | Site Description |  |  | tblExposures.nvcRemarks | Site Description | LOCATION_DESC
SITE_LAT_LONG_ACCURACY | LatLonPrecision |  |  | tblExposures.fCoordinateAccuracy | LatLonPrecision | ACCURACY_M
SITE_UPPER_DEPTH_M | Upper depth |  |  | tblExposures.fScreenTop | Upper depth | BOREHOLE_TOP_DEPTH_M | SAMPLING_INTERVAL_BEGIN_M
SITE_LOWER_DEPTH_M | Lower depth |  |  | tblExposures.fScreenBottom | Lower depth | BOREHOLE_BASE_DEPTH_M | SAMPLING_INTERVAL_END_M
SITE_ELEVATION_UNIT | Depth Measurement Unit |  |  | "m" | Depth Measurement Unit | "AHD"
SITE_STRATIGRAPHIC_UNIT | Stratigraphic Unit |  |  |  | Stratigraphic Unit | STRAT_UNIT_NAME
REFERENCE_MATERIAL_USED | Reference Material |  |  |  |  | STANDARD_NAME
VALUE_REFERENCE_MATERIAL | Value Reference |  |  |  |  | STANDARD_VALUE
SITE_ELECTRICAL_CONNECTIVITY | Electrical Connectivity |  |  |  | Electrical Connectivity
SAMPLE_TEMPERATURE | Sample Temperature |  |  |  | Sample Temperature
SAMPLE_TIME_START | Sample Start Time |  |  | tblSamplings.dSamplingDate. | Sample Start Time
SAMPLE_TIME_END | Sample End Time |  |  | tblSamplings.dSamplingDateEnd | Sample End Time
SAMPLE_SITE_AIR_TEMPERATURE_DEGC | Sample Site Air Temp |  | Air Temperature |  | Sample Site Air Temp
LABORATORY | Lab |  | O18 Provider H2 Provider H3 Provider |  | Lab
DATA_OWNER | Data Owner | "ANSTO" |  |  | Data Owner
DOI | DOI | "https://doi.org/10.1016/j.scitotenv.2018.07.082" |  |  | DOI
SITE_ELEVATION_ACCURACY | Site Elevation Accuracy |  |  | tblExposures.fElevationAccuracy | Site Elevation Accuracy
SAMPLE_SUBSAMPLE_ID | Subsample ID |  |  |  | Subsample ID
SAMPLE_TIMEZONE | Timezone |  |  |  | Timezone
SAMPLE_AMOUNT | Sample Amount |  |  |  | Sample Amount
SAMPLE_UOM | Sample Amount _Unit |  |  |  | Sample Amount _Unit
SAMPLE_SOURCE_FORM | Sample Source |  |  |  | Sample Source
SAMPLE_CONFIDENTIAL_DATE | Confidential Until |  |  |  | Confidential Until
SAMPLE_STRATIGRAPHIC_UNIT | Stratigraphic Unit |  |  |  | Stratigraphic Unit
SITE_FLOW_RATES | Flow Rates |  |  |  | Flow Rates
SITE_AIR_PRESSURE | Air Pressure |  |  |  | Air Pressure
SITE_TURBIDITY | Turbidity |  |  |  | Turbidity
SITE_HUMIDITY | Humidity |  |  |  | Humidity
SITE_MOISTURE_CONTENT | Moisture Content |  |  |  | Moisture Content
DO | Dissolved Oxygen |  |  |  | Dissolved Oxygen
SITE_WATER_LEVEL | Water Level |  |  |  | Water Level | FIELD_SWL
SAMPLE_ISOTOPE_CONCENTRATION | Isotope Concentration |  |  |  | Isotope Concentration
SAMPLE_ISOTOPE_CONCENTRATION_UNIT | Concentration Unit |  |  |  | Concentration Unit
SAMPLE_PRECIPITATION | Precipitation |  |  |  | Precipitation
SAMPLE_H2O_VAPOUR_PRESSURE | Water Vapour Pressure |  |  |  | Water Vapour Pressure
SUBSAMPLE_ANALYSIS_DATE | Analysis Date |  |  |  | Analysis Date
ANALYSIS_COMMENTS | Analytical Comments |  |  |  | Analytical Comments
SAMPLE_COLLECTED_BY | Sample Collected By |  |  |  | Sample Collected By | SAMPLE_ORIGINATOR
MODELLED | Modelled Data
| δ13C-DIC (PDB) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ13C-DOC (PDB) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ13C-CO2 (PDB) |  |  | measureableId sectblSMeans.fMean | Isotope Value |  | C13_CARBON_DIOXIDE_PER_MILLE
| δ13C-CH4 (PDB) |  |  | measureableId sectblSMeans.fMean | Isotope Value |  | CARBON_13_METHANE_PER_MILLE
| δ13C-Bulk (PDB) |  |  | measureableId sectblSMeans.fMean | Isotope Value |  | CARBON_13_PER_MILLE
| δ15N-NO3 (Air - N2) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ15N-NH4 (Air - N2) |  |  |  | Isotope Value
| δ15N-Bulk (Air - N2) |  |  |  | Isotope Value
| δ18O-H2O (VSMOW) | δ18O from Isoscape ‰ | O18 | measureableId sectblSMeans.fMean | Isotope Value |  | OXYGEN_18_WATER_PER_MILLE
| δ18O-SO4 (VSMOW) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ18O-NO3 (VSMOW) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ18O-Bulk (VSMOW) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ17O-H2O (VSMOW) |  |  |  | Isotope Value
| δ17O-NO3 (VSMOW) |  |  |  | Isotope Value
| δ17O-SO4 (VSMOW) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ17O-Bulk (VSMOW) |  |  |  | Isotope Value
| 87Sr/86Sr-Bulk |  |  |  | Isotope Value |  | SR87_SR86_RATIO
| δ2H-CH4 (VSMOW) |  |  | measureableId sectblSMeans.fMean | Isotope Value
| δ2H-H2O (VSMOW) | δ2H from Isoscape ‰ | H2 | measureableId sectblSMeans.fMean | Isotope Value |  | DEUTERIUM_WATER_PER_MILLE
| 3H-H2O |  | H3 | measureableId sectblSMeans.fMean | Isotope Value
| Temperature |  |  | measureableId sectblSMeans.fMean | Isotope Value
| D-excess | d-excess from Isoscape ‰ |  |  | Isotope Value
| 87Sr/86Sr-H2O |  |  | measureableId sectblSMeans.fMean | Isotope Value | SR87_SR86_MEASURED

## Template Notes
CSIRO order | From CSIRO Sheet | label | description | property or field?
1 | PUBLICATION | Citadation | Publication details in which this data was first published | prop
2 | DOI | DOI | Permanent link such as a Digital Object Identifier (DOI) to where the paper or data was first published | prop
3 | SAMPLE_PROJECT_IDENTIFIER | Project Name | Name of the project under which the analyses were originally run | prop
4 | SAMPLE_PROJECT_DESCRIPTION | Project description | Short description of the project under which the analyses were originally run | prop
5 | SAMPLE_DATE_START | Sample Start Date | Date when the sampling process started. | field
6 | SAMPLE_TIME_START | Sample Start Time | Time when the sampling process started. | field
7 | SAMPLE_TIMEZONE | Timezone | The timezone of the sampling time. | field
8 | SAMPLE_ID | Sample ID | Unique name of the sample | prop + field (sample.name)
9 | SAMPLE_PID | Sample PID | unique, permanent URI linked to the data | prop
10 | SAMPLE_TYPE | Sample Type | Type of physical material collected from the collection site | prop
11 | SAMPLE_SOURCE_TYPE | Sample Source Type | Describes the material that contained the sample. Further refines Sample Type | prop
12 | SAMPLE_SOURCE_FORM | Sample Source | The form of the sample at sampling time. [updated 13 March *This column details the material that was anlysed for stable isotope values]" | prop
13 | SAMPLE_SUBTYPE | Sample Subtype | Type of subsample analysed in the laboratory | prop
14 | SAMPLE_SUBSAMPLE_ID | Subsample ID | Unique name of the subsample | prop
15 | SAMPLE_AMOUNT | Sample Amount | Amount of sample analysed | prop
16 | SAMPLE_UOM | Sample Amount _Unit | Unit of sample amount | prop
17 | SITE_NAME | Site Name | Name assigned to the collection site. | prop
18 | SITE_DESCRIPTION | Site Description | Description of the site at which the sample was collected | prop
19 | SITE_NUMBER | Site ID | unique ID assigned to the collection site. | prop
20 | SITE_TYPE | Site Type | Type of collection site | prop
21 | SITE_LATITUDE | Latitude | Latitude of the sample collection site, in the GDA94 datum | field
22 | SITE_LONGITUDE | Longitude | Longitude of the sample collection site, in the GDA94 datum | field
23 | SITE_LAT_LONG_ACCURACY | LatLonPrecision | The precision of the reported latitude and longitude, determined from GPS or estimated on the method and vintage of a lat/long determination | field
24 | SITE_LAT_LONG_REFERENCE_SYSTEM | LatLonReference | The reference system used for the lat/long measurement | prop
25 | SITE_ELEVATION_AHD_M | Site Elevation | Elevation or altitude in metres relative to the Australian Height Datum | field
26 | SITE_UPPER_DEPTH_M | Upper depth | Upper limit of depth at which field sample was collected, in metres from surface | field
27 | SITE_LOWER_DEPTH_M | Lower depth | Lower limit of depth at which field sample was collected, in metres from surface | field
28 | Site_Elevation_Unit | Depth Measurement Unit | Unit used to quantify upper and lower depth of a sample | prop
29 | SAMPLE_TEMPERATURE | Sample Temperature | Temperature of the sample in the field | prop
30 | SAMPLE_SITE_AIR_TEMPERATURE_DEGC | Site Air Temp | Air temperature at time sample was taken, expressed as degrees Celsius | prop
31 | SAMPLE_STRATIGRAPHIC_UNIT | Stratigraphic Unit | Describes the body of rock forming a discrete and definable geologic unit defined by lithology independent of relationships to other units. Denotes a 'kind' of rock body characterized by lithology, e.g. basaltic rocks. | prop
32 | Sample_Duration | Sampling Duration | The duration of the sampling process, reported as hours. | field
33 | SAMPLE_COLLECTED_BY | Sample Collected By | Name of organisation who collected the sample | prop (field?)
34 | SAMPLE_CONFIDENTIAL_DATE | Confidential Until | Date when data is publically available | prop
35 | Analyte | Analyte | The sample of interest in the stable isotope analytical procedure. Expressed as the most specific component entity, eg. Element, material, substance or chemical constituent | field
36 | Measurable | Isotope Measured | The isotope analysed, expressed as d(number)(element) | field
37 | Value | Isotope Value | The measured result of stable isotope analysis | field
38 | Unit | Isotope Unit | The unit of the result. | field
39 | Scale | Isotope Scale | Scale to which isotope measurements were normalized | field
40 | Uncertainty | uncertainty | Analytical uncertainty associated with procedure. | field
41 | Uncertainty Kind | Uncertainty Kind | Analytical uncertainty type | field
42 | SAMPLE_ISOTOPE_CONCENTRATION | Isotope Concentration | Concentration of the element measured, related to isotope analysed | prop
43 | SAMPLE_ISOTOPE_CONCENTRATION_UNIT | Concentration Unit | Unit of Concentration | prop
44 | REFERENCE_MATERIAL_USED | Reference Material | Reference material used to normalise stable isotope measurement results | prop
45 | VALUE_REFERENCE_MATERIAL | Value Reference | Measurement result (Value) of reference material | prop
46 | UNCERTAINTY_REFERENCE_MATERIAL | Uncertainity Reference | Uncertainity of the measured reference material | prop
47 | UNIT_UNCERTAINTY_REFERENCE_MATERIAL | Unit Uncertatainty Reference | Unit used to calculate uncertainity | prop
48 | DATA_OWNER | Data Contact | The organisation to contact for any inquiries, issues, or updates related to the dataset. | prop
49 | SUBSAMPLE_ANALYSIS_DATE | Analysis Date | Date of analysis | prop
50 | ANALYSIS_COMMENTS | Analytical Comments | Any comments or remarks about an analysis | prop
51 | LABORATORY | Analytical Lab | Laboratory at which the analysis was performed, provided as organisation name | prop (field?)
52 | METHOD_SAMPLE_PRETREATMENT | Sample Pretreatment Method | Details on any pretreatment prior to stable isotope analysis | prop
53 | METROLOGICAL_TRACEABILITY | Data Post Processing | Details about the normalisation and and data post-measurement | prop
54 | TRACEABILITY_ANALYTICAL_PROCEDURE | Analytical Proceducre | The analytical technique: ie. is it bulk isotope analysis using EA-IRMS (Elemental analyser coupled isotope ratio mass spectrometry) or compound specific isotope analysis which will requiring separation prior to analysis ie. GC- or LC-IRMS Sample preparation: ie. x mg of sample weighed into tin or silver capsules, sample combusted at x temperature, any reduction of combusted gas and removal of water, carrier gas (grade and brand), flow rate, any GC column (brand) used…etc Instrument and control: ie. brand and model of peripheral connected to mass spectrometer, software package, version | prop
55 | TRACEABILITY_UNCERTAINTY | Measurement Uncertainty | delta value must be reported with standard uncertainty/expanded with coverage factor and coverage probability. The measurement uncertainty for the reported values was evaluated from both known sources and uncertainty from the RMs used for normalisation. | prop
56 | DATA_PROCESSING | Data Processing | The measurement model equation or describing the basic principles used to normalise stable isotope measurement results Any and all corrections applied to instrumental readings | prop
57 | UNCERTAINTY_EVALUATION | Uncertainty Evaluation | Standard uncertainty or expanded uncertainty with coverage factor and coverage probability Conformity of results to the method performance characteristics | prop
58 | METHOD_SAMPLE_COLLECTION | Sample Collection Method | Details of method used to collect the sample | prop
59 | METHOD_SAMPLE_CONTAINER | Sample Container | Description of the sample container | prop
60 | METHOD_SUBSAMPLE_CONTAINER | Subsample Container | Description of the subsample container | prop
61 | SAMPLE_STORAGE_CONDITIONS | Sample Storage | Details on the manner in which the sample was stored and handled until it was tested | prop
62 | SITE_AIR_PRESSURE | Air Pressure | Air pressure at time sample was taken. | prop
63 | SITE_DISSOLVED_OXYGEN | Dissolved Oxygen | The concentration of the amount of oxygen present in water sample, expressed as milligrams of dissolved oxygen per liter of water (mg/L). | prop
64 | SITE_ELECTRICAL_CONNECTIVITY | Electrical Connectivity | Electrical conductivity of the water sample, expressed as µS/cm (micro-Siemens/centimetre) | prop
65 | SITE_FLOW_RATES | Flow Rates | Flow rates at the sample water site | prop
66 | SITE_HUMIDITY | Humidity | The humidity of air at the time of sampling | prop
67 | SITE_MOISTURE_CONTENT | Moisture Content | Moisture content percentage of the sample | prop
68 | SITE_ORP | ORP | Oxidation-reduction potential (ORP) of the water body | prop
69 | SITE_pH | pH | pH of the sample | prop
70 | SAMPLE_PRECIPITATION | Precipitation | Average or composite measurement over the duration of a composite sample, Amount of precipitation recorded (as mm) | prop
71 | SITE_SALINITY_US_CM | Salinity | Measurement of the salinity of the water sample, expressed as parts per million (ppm). | prop
72 | SITE_TURBIDITY | Turbidity | Measurement of the turbidity of the water sample, expressed as Nephelometric Turbidity Units (NTU). | prop
73 | SITE_WATER_LEVEL | Water Level | Measurement of the water level of the water body sampled. | prop
74 | SITE_WATER_TEMPERATURE_DEGC | Water Temp DegC | Average or composite measurement over the duration of a composite sample. Temperature of a water sample, expressed as degrees Celsius | prop
75 | SAMPLE_H2O_VAPOUR_PRESSURE | Water Vapour Pressure | Measurement of the vapour pressure of water (expressed as %). Either average or composite measurement over the duration of a composite sample . | prop
not in CSIRO sheet but in ONTOLOGY_PROPS | SAMPLE_DATE_END
not in CSIRO sheet but in ONTOLOGY_PROPS | (not in CSIRO sheet) MODELLED
not in CSIRO sheet but in ONTOLOGY_PROPS | (not in CSIRO sheet) SAMPLE_ANALYSED_TYPE_DESCR
not in CSIRO sheet but in ONTOLOGY_PROPS | (not in CSIRO sheet) SAMPLE_TIME_END
not in CSIRO sheet but in ONTOLOGY_PROPS | (not in CSIRO sheet) SITE_ELEVATION_ACCURACY
not in CSIRO sheet but in ONTOLOGY_PROPS | (not in CSIRO sheet) SITE_STRATIGRAPHIC_UNIT
not in CSIRO sheet but in ONTOLOGY_PROPS | (not in CSIRO sheet) UI_FILTER_PATH

## Notes
Link to CSIRO Ontology |  | https://csiroau.sharepoint.com/:x:/r/sites/ARDCproject/_layouts/15/guestaccess.aspx?wdOrigin=TEAMS-MAGLEV.p2p_ns.rwc&wdExp=TEAMS-TREATMENT&wdhostclicktime=1741849636152&web=1&share=EXWzxgucGLBDmeu2uk8EybQBusA74WLhzEc0oeXbWnO4QQ
| isotope | analyte | scale
| δ3H | 86Sr | Bulk
| δ87Sr | SO4 | VSMOW
| δ18O | NO3 | Air - N2
| δ15N | H2O | PDB
| δ13C | CH4 | TDIC
| δ17O | CO2
| δ14C | DOC
| δ2H | DIC
δ13C
δ34S